1) Explain the three stages of pH metric titration between strong acid and

strong base with titration curve and reaction.

2) What is a reference electrode? Explain the construction of calomel

electrode with labelled diagram and give its representation.

3) Explain the construction of a conductivity cell with labelled diagram.

4) Give the composition of the membrane of the ion selective electrode

used for the determination of H+, F– and Cl–.

5) Explain the three stages of conductometric titration between strong acid

and strong base with titration curve and reaction.

6) Which are the different types of buffer solutions? Give example of each

type.

7) Give construction working with diagram of glass electrode.

8) Give five application of Conductometric  titration

9) Define :i) Equivalent conductance

ii) Molar conductance

iii) Cell constant

10) Give five application of pH metric titration.

11) Write any two advantages of instrumental methods of analysis. Give

Stepwise process for calibration of a pH-meter.

12) What are ion selective electrode? Discuss the composition and working

with labelled diagram of fluoride ion selective electrode and Chloride ion

selective electrode.

13) Give principle of UV-Visible spectroscopy.Explain different types of

electronic transitions that  occur in an organic molecule after absorbing UV

radiations

14) State different types of electronic transitions that occur in an organic

molecule after absorbing  UV radiations.Identity the type of tansitions in

following compounds  a)Ethylene  b) acetone	c) benzene

15) Give principle and instrumentation of double beam spectrophotometer with

block diagram. Give functions of each component.

16)State Beer’s and Lambert’s Law.

17)Explain any 5 applications of UV-Visible spectroscopy

18) Explain different types of electronic transitions that occur in an organic

molecule after absorbing UV radiations

19)Give reasons (each will be for 2 marks)

  - σ	σ* transitions do now show peak in typical UV- visible spectra

  - 1,3 butadiene shows higher λmax then ethylene

  - Methane does not show any peak in UV-Visible spectra

  - Phenol shows red shift on addition of alkali

  - Phenol absorbs at higher wavelength than benzene

20) Define the following terms – (1 mark each)

Bathochromic shift (red shift),   Hypsochromic shift (blue shift),

Hyper  chromic shift,        Hypochromic shift,  Auxochrome,

Chromophore etc.